## mohardawaterQuality
Latitude | Longitude | Cust_Name_ | Source | Collet_Typ | Turbidity | FRC_PPM | PH | Total_Coli | Faecal_Col | Rating | Customer_P | Remarks | CreatedBy | CreatedOn | UpdatedBy | UpdatedOn | UID | GlobalID | created_us | created_da | last_edite | last_edi_1
22.7905 | 86.2594 | Zone-2, Vivekanand Chowk | GSR | Schedule | 0.96 | 0.4 | 7.82 | Absent | Absent | 4 | Satisfied-Suitable for household use |  |  |  | 155218 | 2026-02-17 | 25122501 | {F645DF6F-739E-4AED-BEEE-C992CE1C4151} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.7883 | 86.2571 | Zone-2B, Near Eden School | GSR | Schedule | 1 | 0.4 | 7.81 | Absent | Absent | 4 | Satisfied- Acceptable quality |  |  |  | 155218 | 2026-02-17 | 25122502 | {5B0B61CE-A1A8-412B-B1E8-8317C9644E4B} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.7844 | 86.2596 | Zone-1B, Shankar Karmakar | GSR | Schedule | 0.97 | 0.3 | 7.82 | Absent | Absent | 4 | Satisfied- Clear and Usable |  |  |  | 155218 | 2026-02-17 | 25122503 | {7BAFD299-6CE7-472E-9E05-382E8E480ACF} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.7847 | 86.2608 | Zone-1B,Dinanath Pandey | GSR | Schedule | 1.08 | 0.4 | 7.93 | Absent | Absent | 3 | Moderately Satisfied |  |  |  | 155218 | 2026-02-17 | 25122504 | {5489200E-8CA0-4CCE-BAEC-8D1B74648983} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.7845 | 86.2643 | Zone-1B, Daspara, Hari Mandir | GSR | Schedule | 0.96 | 0.4 | 7.84 | Absent | Absent | 4 | Satisfied- Reliable domestic supply |  |  |  | 155218 | 2026-02-17 | 25122505 | {2514F23B-72DE-4E3C-9E3C-871C49A7E27D} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.7812 | 86.2573 | Zone-1B, Jhanda Chowk | GSR | Schedule | 0.98 | 0.5 | 7.82 | Absent | Absent | 4 | Satisfied- Chlorine level acceptable |  |  |  | 155218 | 2026-02-17 | 25122506 | {763338F4-E859-4A44-8CDD-5F16721A3A9B} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.7836 | 86.2562 | Zone-1, Thakur Path | GSR | Schedule | 0.95 | 0.4 | 7.87 | Absent | Absent | 4 | Satisfied- Good clarity |  |  |  | 155218 | 2026-02-17 | 25122507 | {D1A9DDEC-CC74-4E53-9360-C5143F190076} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.7847 | 86.2515 | Zone-1, Sunday Market | GSR | Schedule | 1.15 | 0.5 | 7.88 | Absent | Absent | 3 | Slight turbidity variation |  |  |  | 155218 | 2026-02-17 | 25122508 | {924E3414-F585-4989-AA04-C7899EB4B835} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.7851 | 86.2472 | Zone-4, Old Post Off. Road | GSR | Schedule | 0.98 | 0.4 | 7.74 | Absent | Absent | 4 | Satisfied- Suitable for domestic use |  |  |  | 155218 | 2026-02-17 | 25122509 | {82D54539-D7D5-4CAD-B2BC-D7C7C7BEDE17} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.7868 | 86.2467 | Zone-4, Kali Mandir | GSR | Schedule | 1.18 | 0.4 | 7.8 | Absent | Absent | 3 | Moderately Satisfied-Ocassional concern |  |  |  | 155218 | 2026-02-17 | 25122510 | {32F02003-68F5-46F0-94A0-76E23C0770B6} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8072 | 86.2463 | Road no.-2, Bagunhatu | ESR | Schedule | 1.01 | 0.5 | 7.67 | Absent | Absent | 4 | Satisfied- Stable quality |  |  |  | 155218 | 2026-02-17 | 31122501 | {C58F3F76-3ED0-47C2-A348-E8680610FF99} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8079 | 86.2459 | Road no.-3, Asni Dutta | ESR | Schedule | 1.08 | 0.6 | 7.87 | Absent | Absent | 3 | Moderately Satisfied |  |  |  | 155218 | 2026-02-17 | 31122502 | {88A614D9-B33D-437D-8969-9435D9717DBA} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.808 | 86.2463 | Road no.-4, Rakesh Lal | ESR | Schedule | 1 | 0.5 | 7.82 | Absent | Absent | 4 | Satisfied-Accepatable parameters |  |  |  | 155218 | 2026-02-17 | 31122503 | {2382B482-290C-4BA0-B1F3-11758753E963} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8089 | 86.2452 | Road no.-5, Usha Devi | ESR | Schedule | 0.95 | 0.4 | 7.91 | Absent | Absent | 4 | Satisfied- Clear and Usable |  |  |  | 155218 | 2026-02-17 | 31122504 | {D0443106-7EA3-419F-884C-32686BF45075} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8104 | 86.2428 | Road no.-6, Bagunhatu | ESR | Schedule | 0.97 | 0.6 | 7.8 | Absent | Absent | 3 | Mixed Feedback |  |  |  | 155218 | 2026-02-17 | 31122505 | {8F0FA73C-2C39-4DA7-A9C7-07E5894A03F8} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.809 | 86.2412 | Water Tank, Bagunhatu | ESR | Schedule | 1.02 | 0.6 | 7.91 | Absent | Absent | 4 | Satisfied- Clear and Usable |  |  |  | 155218 | 2026-02-17 | 31122506 | {DE9339BE-E893-4BD5-9836-A7C00C491A36} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8007 | 86.2593 | Annapurna Hotel | ESR | Schedule | 1.02 | 0.3 | 7.64 | Absent | Absent | 3 | Slight Caution in use |  |  |  | 155218 | 2026-02-17 | 31122507 | {080F3C5D-48E7-4C2E-A980-92547EDEFED0} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8029 | 86.2531 | Mithila Colony, Baridih | ESR | Schedule | 0.98 | 0.4 | 7.77 | Absent | Absent | 4 | Satisfied |  |  |  | 155218 | 2026-02-17 | 31122508 | {D6D239A5-3AC2-452A-85AC-301FBDFD2277} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8056 | 86.254 | Zila School, Baridih | ESR | Schedule | 0.96 | 0.4 | 7.89 | Absent | Absent | 4 | Satisfied but not using for drinking |  |  |  | 155218 | 2026-02-17 | 31122509 | {94C9AC71-48BA-44BD-8A3A-87C2EFC81661} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8042 | 86.2506 | Pradeep Singh | ESR | Schedule | 1.15 | 0.5 | 7.88 | Absent | Absent | 3 | Not consuming directly |  |  |  | 155218 | 2026-02-17 | 31122510 | {0E6FE1FA-12C9-400A-91B1-9825F071DA38} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8045 | 86.2473 | Water Tank, Bagun Nagar | ESR | Schedule | 0 | 0.6 | 7.67 | Absent | Absent | 4 | Satisfied- Acceptable quality |  |  |  | 155218 | 2026-02-17 | 31122511 | {F06F7AB7-623A-4280-80E0-2084BF66550C} | APP_CITY | 2026-02-23 | APP_CITY | 2026-02-23
22.8045 | 86.246 | Shri Krishna Singh | ESR | Complaint | 1.07 | 0.4 | 7.78 | Absent | Absent | 3 | Moderately Satisfied | Ok |  |  | 155218 | 2026-02-17 | 3012601 | {7683EA28-5F62-43D9-A37C-8C8B6EA32B7C} | APP_CITY | 2026-02-23 | alok.ranjan6 | 2026-02-27
22.8046 | 86.2461 | Kamini Sinha |  | Complaint | 1.09 | 0.4 | 7.93 | Absent | Absent | 3 | Mixed Feedback | Ok |  |  | 155218 | 2026-02-17 | 3012602 | {271912E4-5887-4167-AC9B-1D5AD4BCFE77} | APP_CITY | 2026-02-23 | alok.ranjan6 | 2026-02-27
22.8018 | 86.2561 | Shiv Kant Dubey | ESR | Complaint | 1.04 | 0.3 | 7.78 | Present | Absent | 2 | Dissatisfied | Action needed |  |  | 155218 | 2026-02-17 | 3012603 | {46B90E33-3851-4A16-8112-C6ED2D146AC6} | APP_CITY | 2026-02-23 | alok.ranjan6 | 2026-02-27
22.8077 | 86.2456 | Pankaj Thakur | ESR | Schedule | 1.03 | 0.4 | 7.69 | Present | Absent | 2 | Dissatisfied | Ok |  |  | 155218 | 2026-02-17 | 24012602 | {09E2E4F3-B336-4EAC-9EC1-7E762CF65184} | APP_CITY | 2026-02-23 | alok.ranjan6 | 2026-02-27
22.8081 | 86.2463 | Rakesh Ravidas | ESR | Schedule | 0.95 | 0.3 | 7.69 | Present | Absent | 2 | Dissatisfied | Not satisfied |  |  | 155218 | 2026-02-17 | 24012603 | {D4F953EF-7B8B-4AEE-8EF0-55240441BCB7} | APP_CITY | 2026-02-23 | alok.ranjan6 | 2026-02-27
22.809 | 86.2456 | Sujata Singh | ESR | Schedule | 1.03 | 0.4 | 7.68 | Present | Absent | 2 | Dissatisfied | Action needed. |  |  | 155218 | 2026-02-17 | 24012604 | {A4FCFEB4-98ED-4F7C-928E-296204972E7C} | APP_CITY | 2026-02-23 | alok.ranjan6 | 2026-02-27
22.7897 | 86.2363 | Talvinder Kaur | ESR | Schedule | 1.01 | 0.4 | 7.67 | Absent | Absent | 4 | Satisfied but not using for drinking |  |  |  | 155218 | 2026-02-17 | 29012607 | {75BB91F2-5DE4-436C-BC53-F48788F5F373} | APP_CITY | 2026-02-23 | alok.ranjan6 | 2026-02-27
22.7874 | 86.2442 | Somra Tirkey | ESR | Schedule | 1.1 | 0.3 | 7.76 | Present | Absent | 2 | Dissatisfied |  |  |  | 155218 | 2026-02-17 | 29012608 | {5286BC75-B3A1-4240-8A9E-618223B5942A} | APP_CITY | 2026-02-23 |  | 2026-02-26
22.7872 | 86.2443 | Fulchand Tirkey | ESR | Schedule | 1.02 | 0.3 | 7.77 | Present | Absent | 2 | Dissatisfied |  |  |  | 155218 | 2026-02-17 | 29012609 | {D4E0BB4C-7148-4C3F-962C-CACDAC1C8B6F} | APP_CITY | 2026-02-23 |  | 2026-02-26
22.7876 | 86.2441 | Pushpa Tirkey | ESR | Schedule | 1.09 | 0.4 | 7.72 | Absent | Absent | 4 | Satisfied- Acceptable quality |  |  |  | 155218 | 2026-02-17 | 29012610 | {D6067EC1-CE2A-4A3D-861E-6FAA78B39EFC} | APP_CITY | 2026-02-23 |  | 2026-02-26
22.7851 | 86.2411 | Mantu Maharaj | ESR | Schedule | 0.98 | 0.3 | 7.64 | Absent | Absent | 3 | Moderately Satisfied-Ocassional concern |  |  |  | 155218 | 2026-02-17 | 29012611 | {365E3BE7-377B-4AC5-ABEC-0EA24F6711EB} | APP_CITY | 2026-02-23 |  | 2026-02-26
22.7989 | 86.2585 | Dilip Kumar, Salomi colony zone 7 | ESR | Schedule | 1.6 | 0.4 | 7.35 | Absent | Absent | 3 | Average | Using for household works |  |  |  |  | 26022601 | {07D40256-AF6D-4569-9198-9718855DFA70} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.7874 | 86.2443 | Somra Tirkey, Zone 6 | ESR | Schedule | 1.49 | 0.3 | 7.24 | Absent | Absent | 4 | Good | Satisfied |  |  |  |  | 26022602 | {7826F1A5-4238-4EB8-867C-CEF80720A0E4} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.7876 | 86.2441 | Pushpa Tirkey,Zone 6 | ESR | Schedule | 1.42 | 0.4 | 7.38 | Absent | Absent | 4 | Good | Moderately satisfied |  |  |  |  | 26022603 | {72912401-9D45-44CA-81F9-E0406FCA36E8} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.785 | 86.241 | Mantu Maharaj ,Zone 6 | ESR | Schedule | 1.54 | 0.3 | 7.18 | Absent | Absent | 4 | Good | Satisfied |  |  |  |  | 26022604 | {138F8C10-4B15-4731-A761-58E269357B30} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.7817 | 86.2414 | Kali Mandir,Zone 5 | ESR | Schedule | 3.14 | 0.2 | 7.11 | Absent | Absent | 3 | Average | Mixed Feedback |  |  |  |  | 26022605 | {C8360ACD-21B5-4416-803D-5FD14D994298} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.7855 | 86.2383 | Subhadra Yadav, Zone 6 | ESR | Complaint | 1.05 | 0.3 | 7.21 | Absent | Absent | 1 | Poor | Complaint of smell, and red worms are present in water. |  |  |  |  | 26022606 | {25BDA7F1-4EE5-4E84-ACED-C9801C72C229} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.7837 | 86.2372 | Rajni Devi ,Zone 6 | ESR | Schedule | 1.77 | 0.2 | 7.2 | Absent | Absent | 4 | Good | Satisfied |  |  |  |  | 26022607 | {1EA037E5-7459-425C-864E-CD2FA43BDC01} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.7837 | 86.2367 | Bimla Devi, Zone 6 | ESR | Schedule | 1.55 | 0.4 | 7.2 | Absent | Absent | 4 | Good | Satisfied |  |  |  |  | 26022608 | {AF08F4C1-D283-424B-B78C-E58A6F2C100D} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.7829 | 86.2371 | Johny Ekka ,Zone 6 | ESR | Schedule | 1.26 | 0.3 | 7.22 | Absent | Absent | 3 | Average | Yellowish water |  |  |  |  | 26022609 | {96C0BA66-AB3F-4638-BE8C-59F6174428C4} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.7825 | 86.2359 | Shanti Devi ,Zone 6 | ESR | Schedule | 1.77 | 0.2 | 7.2 | Absent | Absent | 4 | Good | Moderately satisfied |  |  |  |  | 26022610 | {AEC85B4B-9C1E-4B10-AD82-61375AFD7E71} |  | 2026-02-26 | APP_CITY | 2026-05-05
22.7837 | 86.2467 | Water Tank ,Zone 9 | ESR | Schedule | 1.15 | 0.3 | 7.54 | Absent | Absent | 4 | Good | Ok |  |  |  |  | 11032602 | {D9930C5B-3325-456B-B69B-AFC435CE3E5F} | alok.ranjan6 | 2026-03-11 | APP_CITY | 2026-05-05
22.7825 | 86.2468 | Dayanand School, Zone 11 | ESR | Schedule | 1.13 | 0.2 | 7.71 | Absent | Absent | 4 | Good | Ok |  |  |  |  | 11032603 | {65802ACB-81FC-48F2-9CF6-60C1D657518E} | alok.ranjan6 | 2026-03-11 | APP_CITY | 2026-05-05
22.7917 | 86.2572 | Shiv Mandir Zone 3 | ESR | Schedule | 1.09 | 0.2 | 7.74 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 11032604 | {4FAAF463-8C7F-4DAA-9BF2-3685CB4FD73C} | alok.ranjan6 | 2026-03-11 | APP_CITY | 2026-05-05
22.7927 | 86.258 | Water Tank no. 3 | ESR | Schedule | 1.12 | 0.3 | 7.61 | Absent | Absent | 4 | Good | Ok |  |  |  |  | 11032605 | {432CC87D-E889-4D06-A5B9-F177A8135EAF} | alok.ranjan6 | 2026-03-11 | APP_CITY | 2026-05-05
22.7928 | 86.2628 | K Padmavati ,Arjun colony zone 1 | ESR | Schedule | 1.08 | 0.2 | 7.63 | Absent | Absent | 4 | Good | Ok |  |  |  |  | 11032606 | {AAB6E4B3-BEA7-460B-9D38-422EA798789E} | alok.ranjan6 | 2026-03-11 | APP_CITY | 2026-05-05
22.7948 | 86.2662 | Vrindavan Hotel | ESR | Schedule | 1.15 | 0.2 | 7.65 | Absent | Absent | 4 | Good | Ok |  |  |  |  | 11032608 | {0F3382EF-3FF4-424A-973F-00643490237D} | alok.ranjan6 | 2026-03-11 | APP_CITY | 2026-05-05
22.7951 | 86.2528 | Ganesh Mandir , Zone 3 | ESR | Schedule | 1.1 | 0.4 | 7.49 | Absent | Absent | 4 | Good | Ok |  |  | Alok |  | 11032610 | {E74EC384-527D-433E-BE95-A5555810395F} | alok.ranjan6 | 2026-03-11 | APP_CITY | 2026-05-05
22.7846 | 86.2607 | Dinanath Pandey | GSR | Schedule | 1.16 | 0.6 | 7.45 | Present | Absent | 3 | Good | Ok |  |  |  |  | 19032601 | {8CE88FDB-8182-449A-85D1-3A4D0D584B45} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7845 | 86.2643 | Hari Mandir,Zone 1B | GSR | Schedule | 1.21 | 0.5 | 7.46 | Absent | Absent | 3 | Good | Ok |  |  |  |  | 19032602 | {E5BE86D3-045B-4807-AA2E-7E513A530021} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7808 | 86.2623 | Biswanath Gorai | GSR | Schedule | 1.23 | 0.5 | 7.41 | Absent | Absent | 4 | Good | Ok |  |  |  |  | 19032603 | {BBAE0F05-BF14-4650-865E-2E19F0412367} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7812 | 86.2574 | Jhanda Chowk ,Zone 1B | GSR | Schedule | 0.97 | 0.5 | 7.34 | Absent | Absent | 3 | Good | Ok |  |  |  |  | 19032604 | {382444CE-ECBA-498A-BD5A-BA2470C2FCE3} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7827 | 86.2573 | GSR Outlet | GSR | Schedule | 1.1 | 0.5 | 7.45 | Present | Absent | 3 | Good | Ok |  |  |  |  | 19032605 | {93861443-85CE-45D7-9B11-1889FBFFE59F} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7846 | 86.2515 | Sunday Market | GSR | Schedule | 1.05 | 0.5 | 7.3 | Present | Absent | 3 | Average | Ok |  |  |  |  | 19032606 | {0364CB39-A594-45DA-97AF-39605151AFC5} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7851 | 86.2472 | Old Post Office Road ,Zone 4 | GSR | Schedule | 1.04 | 0.5 | 7.14 | Present | Absent | 3 | Average | Ok |  |  |  |  | 19032607 | {7C7F7417-65AE-44EB-9333-0E2F5053E29A} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7868 | 86.2467 | Kali Mandir, Zone 4 | GSR | Schedule | 1.1 | 0.5 | 7.1 | Present | Absent | 3 | Good | Ok |  |  |  |  | 19032608 | {2E2C90F6-7D3A-4E94-B73F-FE2CEF6AE8DD} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7842 | 86.2597 | Sudhir Das, Zone 1B | GSR | Schedule | 1 | 0.5 | 7.35 | Present | Absent | 3 | Good | Ok |  |  |  |  | 19032609 | {4897C9DF-D428-4A59-92FF-E7DDD5885627} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7883 | 86.257 | Zone 2B , Near Eden School | GSR | Schedule | 1.01 | 0.5 | 7.25 | Absent | Absent | 3 | Good | Ok |  |  |  |  | 19032610 | {F1E0A6BF-B32A-4608-8B68-9216D6DA3209} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.7905 | 86.2593 | Vivekananda Chowk ,Zone 2 | GSR | Schedule | 1.11 | 0.5 | 7.41 | Present | Absent | 3 | Average | On |  |  |  |  | 19032611 | {49E09F19-F559-4360-B90E-FE5825EAE496} | alok.ranjan6 | 2026-03-19 | APP_CITY | 2026-05-05
22.8071 | 86.2463 | Manju Sardar, Road no. 2 | ESR | Schedule | 1.03 | 0.3 | 7.23 | Present | Absent | 3 | Average | Ok |  |  |  |  | 26032601 | {94773A74-48BD-4F13-975F-8712D2CF7E6D} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.8078 | 86.246 | Pradeep Kumar , Road no. 3 | ESR | Schedule | 1.05 | 0.2 | 7.31 | Present | Absent | 3 | Average | Ok |  |  |  |  | 26032602 | {7B0498B5-EF3D-4808-967A-18EF53F4AB4E} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.808 | 86.2463 | Rakesh Ravidas | ESR | Schedule | 1.02 | 0.3 | 7.29 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 26032603 | {63541F97-233A-4ED8-B094-6366FE4E07E9} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.8087 | 86.2454 | Maheshwar Koewarto, Road no. 5 | ESR | Schedule | 0.98 | 0.2 | 7.24 | Present | Absent | 4 | Good | Ok |  |  |  |  | 26032604 | {F71CA43D-77A9-44A2-BFC5-F93FBAE67E48} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.8103 | 86.2433 | Birsa Khalkho, Road no. 6 | ESR | Schedule | 1.03 | 0.4 | 7.26 | Present | Absent | 3 | Good | Ok |  |  |  |  | 26032605 | {D6F3CDE4-432D-43B1-8A04-C764745944DE} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.8079 | 86.2412 | Water Tank , Bagunhatu | ESR | Schedule | 1.12 | 0.3 | 7.51 | Present | Absent | 4 | Good | Ok |  |  |  |  | 26032606 | {0CF01E55-DC2E-4D32-9AF8-7B055DB56146} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.8029 | 86.2532 | Mithila Colony , Baridih | ESR | Schedule | 1.08 | 0.3 | 7.58 | Present | Absent | 3 | Good | Ok |  |  |  |  | 26032607 | {2E1B5E6C-1323-4ECA-BE56-3AE975103FC7} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.8055 | 86.254 | Zila School , Baridih | ESR | Schedule | 0.97 | 0.3 | 7.53 | Present | Absent | 4 | Good | Ok |  |  |  |  | 26032608 | {F2559E65-B2AA-4FBC-819B-EA941719868B} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.8065 | 86.2517 | Shailendra Thakur, Meera Path | ESR | Schedule | 0.98 | 0.3 | 7.54 | Present | Absent | 3 | Good | Ok |  |  |  |  | 26032609 | {C5221446-FF73-449B-B45E-8E1E6DCFEF74} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.8044 | 86.2474 | Water Tank, Bagun Nagar | ESR | Schedule | 1.03 | 0.4 | 7.65 | Present | Absent | 3 | Good | Ok |  |  |  |  | 26032610 | {96F38279-82AC-415D-828E-8DBC523D0117} | alok.ranjan6 | 2026-03-26 | APP_CITY | 2026-05-05
22.8078 | 86.2412 | Water Tank, Bagunhatu | ESR | Schedule | 1.12 | 0.2 | 7.2 | Present | Absent | 3 | Good | Ok |  |  |  |  | 02042601 | {9C42FEF2-B18C-4241-91EB-4C78EE316300} | alok.ranjan6 | 2026-04-02 | APP_CITY | 2026-05-05
22.8071 | 86.2463 | Manju Sardar ,Road no. 2 | ESR | Schedule | 1.16 | 0.2 | 7.53 | Present | Absent | 2 | Average | Ok |  |  |  |  | 02042602 | {01E98BB0-71C4-44E8-9F1F-094C5C7D0FD1} | alok.ranjan6 | 2026-04-02 | APP_CITY | 2026-05-05
22.8055 | 86.254 | Zila School, Baridih | ESR | Schedule | 1.11 | 0.2 | 7.4 | Absent | Absent | 3 | Good | Ok |  |  |  |  | 02042607 | {31423051-0201-4707-92F2-E0D0CADE2A7D} | alok.ranjan6 | 2026-04-02 | APP_CITY | 2026-05-05
22.8065 | 86.2517 | Shailendra Thakur, Meera path | ESR | Schedule | 1.02 | 0.2 | 7.48 | Absent | Absent | 3 | Good | Ok |  |  |  |  | 02042608 | {4FB7EA0E-A731-4993-A137-4B6A740BB587} | alok.ranjan6 | 2026-04-02 | APP_CITY | 2026-05-05
22.8046 | 86.2472 | Water Tank, Bagun nagar | ESR | Schedule | 0.38 | 0.3 | 7.51 | Absent | Absent | 3 | Good | Ok |  |  |  |  | 02042609 | {FB4A4C92-0633-49FC-B025-DA60F939C68B} | alok.ranjan6 | 2026-04-02 | APP_CITY | 2026-05-05
0 | 0 | Mithila colony, Baridih | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 08052601 | {1984D3DF-6D1A-4E57-A88F-702237792F81} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
0 | 0 | Zila School, Baridh | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 08052602 | {E5BDB811-DEFC-42FA-A128-F147E253C5F3} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
0 | 0 | Birendra Thakur, Meera Path | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 08052603 | {2B5A81C0-F9EA-40E2-9378-61EC01E07CA0} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
0 | 0 | Water Tank, Bagun Nagar | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 08052604 | {9529AC01-0AAF-4281-B32E-001C9C6314D0} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
0 | 0 | Public Hydrant, Road no.2 , Bagunhatu | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 08052605 | {1A50AF52-7A13-4411-9EC4-809E71597F27} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
0 | 0 | Bidhu Dutta | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Very Good | Ok |  |  |  |  | 08052606 | {5724BBE8-0EAA-4D4F-A1CC-AD03AF5F4C21} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
0 | 0 | Gyansi Devi, Road no. 5 | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 08052607 | {08B16804-4D25-45A8-A72E-12E9AE06BE25} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
0 | 0 | Mahavir Purty, Road no. 4 | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 08052608 | {C409C841-2E9B-4902-AAB4-E09AA50FAEB1} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
0 | 0 | Public Hydrant, Road no. 6 | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 08052609 | {33064BE5-58BD-4A72-8354-45D591761EA4} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
0 | 0 | Water Tank, Bagunhatu | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 08052610 | {91F3E95F-803A-485D-BE9D-57AED3B0E50C} | alok.ranjan6 | 2026-05-08 | alok.ranjan6 | 2026-05-08
22.8072 | 86.2462 | Savitri Singh Sardar | ESR | Schedule | 1.08 | 0.1 | 7.23 | Present | Absent | 2 | Average | Ok |  |  |  |  | 02042603 | {038B79FD-7D07-4D77-9308-3E165CC6AD56} | alok.ranjan6 | 2026-04-02 | APP_CITY | 2026-05-05
22.808 | 86.2463 | Rakesh Ravidas | ESR | Schedule | 1.17 | 0.3 | 7.22 | Absent | Absent | 2 | Average | Ok |  |  |  |  | 02042604 | {4ED480BB-F2F5-465F-965E-67F5DF2C73CC} | alok.ranjan6 | 2026-04-02 | APP_CITY | 2026-05-05
22.8087 | 86.2454 | Maheshwar Koewarto | ESR | Schedule | 1.07 | 0.2 | 7.4 | Absent | Absent | 3 | Good | Ok |  |  |  |  | 02042605 | {30438B9B-D9F0-440E-B203-90E569DB5AB4} | alok.ranjan6 | 2026-04-02 | APP_CITY | 2026-05-05
22.8088 | 86.2452 | Taina Namta, Road no. 5 | ESR | Schedule | 1.1 | 0.3 | 7.18 | Absent | Absent | 3 | Good | Ok |  |  |  |  | 02042606 | {5C615D45-DADA-4F44-8E00-C445A7CE071F} | alok.ranjan6 | 2026-04-02 | APP_CITY | 2026-05-05
0 | 0 | Aastha Twin City | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 15052601 | {10FCEFB1-0BBB-4298-B4F2-4F260A70FBBE} | alok.ranjan6 | 2026-05-15 | alok.ranjan6 | 2026-05-15
0 | 0 | Shila Kumar Sahu ,Zone 10 | ESR | Complaint | 0 | 0 | 0 | Absent | Absent | 2 | Average | Ok |  |  |  |  | 19052601 | {1AD11012-9D59-4957-B740-F0D747B7E5A8} | alok.ranjan6 | 2026-05-19 | alok.ranjan6 | 2026-05-19
0 | 0 | Arti Sahu , Road no. 5, Bagunhatu | ESR | Complaint | 0 | 0 | 0 | Absent | Absent | 2 | Average | Ok |  |  |  |  | 19052602 | {A0681D46-2B3B-41CC-A615-13F7CB4DE11F} | alok.ranjan6 | 2026-05-19 | alok.ranjan6 | 2026-05-19
0 | 0 | Jhanda Chowk, Zone 1B | GSR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 22052601 | {19E10526-92CD-4E67-87DE-C6B6DC0F461A} | alok.ranjan6 | 2026-05-22 | alok.ranjan6 | 2026-05-22
0 | 0 | GSR Outlet | GSR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 22052602 | {F8C51DBE-4AED-475B-8714-C4AD073C876A} | alok.ranjan6 | 2026-05-22 | alok.ranjan6 | 2026-05-22
0 | 0 | Rita Gope | GSR | Schedule | 0 | 0 | 0 | Absent | Absent | 3 | Average | Ok |  |  |  |  | 22052603 | {CD6B562A-07AA-446F-BA31-C2D72B990E54} | alok.ranjan6 | 2026-05-22 | alok.ranjan6 | 2026-05-22
0 | 0 | Mantu Maharaj, Zone 6 | ESR | Complaint | 0 | 0 | 0 | Absent | Absent | 2 | Average | Ok |  |  |  |  | 22052604 | {1C7FAE00-7145-4247-96D6-CCCA37E53C27} | alok.ranjan6 | 2026-05-22 | alok.ranjan6 | 2026-05-22
0 | 0 | Sandeep Jha | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 2 | Average | Ok |  |  |  |  | 22052605 | {00B478F6-5C40-4D8F-AF88-80DC0B402950} | alok.ranjan6 | 2026-05-22 | alok.ranjan6 | 2026-05-22
0 | 0 | V.K Mohan | ESR | Schedule | 0 | 0 | 0 | Absent | Absent | 2 | Average | Ok |  |  |  |  | 22052606 | {047B4FEF-A874-4346-95F1-97EC45EA0141} | alok.ranjan6 | 2026-05-22 | alok.ranjan6 | 2026-05-22
0 | 0 | PENTEST_ZONE | PENTEST | Schedule | 0 | 0 | 0 |  |  | 0 | [7 empty] | {BDDC492F-1CEE-443B-BB4A-CE7B04C35320} |  | 2026-05-22 |  | 2026-05-22